## Slide 1: Imaging for Risk Stratiﬁcation of SCD in Non-Ischemic Cardiomyopathies
Ashraf Hamdan, MD, FESC
Nuclear Cardiology and Cardiovascular Imaging
Rabin Medical Center, Israel
29.11.2019

## Slide 2: Status of cardiac imaging in Non-ischemic CMP
Dilated CMP
Hypertrophic CMP
Arrhythmogenic right ventricular dysplasia

## Slide 3: 3D Imaging
MRI
  Goldstandard for LV and RV volume measurement
  LGE:Quantification of scar
  T1 mapping: diffuse myocardial disease
CT
  Excellent spatial resolution
  High negative predictive value & high sensitivity

## Slide 5
High signal-noise ratio
High temporal and spatial resolution
Excellent endocardial border definition: high contrast between blood and myocardium
Highly accurate and reproducible
Bellenger…. Pennell. JCMR 2000: 2: 271-8
Echo
Mean 1 = 131
Mean 2 = 131
SD = 18
MRI
Mean 1 = 131
Mean 2 = 131
SD = 4.6
Notes: Compared with Eco MRI has ….

## Slide 6
Quantification of global and regional function: Simpson's method
Enddiastole
Endsystole
3D data
No geometric assumptions
Simpson‘s rule
ESC-Guidelines: MRI is the reference standard for assessment of LV/RV-volumes and EF
Volume = Area * slice thickness
Notes: What ever techique we use it schoud be a 3 dimensional technique
We cover the whole ventricle and we do not use a quemetrical assumption like 2-D echo

## Slide 7: How are RV/LV volumes and function measured on MRI
Phase 1
Phase 2
Phase 3
…… 30
RV
LV
Notes: We have 2 ways:
1. We acquired 4 chamber and acquired perpendicularly multiple slices to get the left and right ventricle from the apex to the base

## Slide 8: Gender specific differences in LV volumes and mass are significant
Kawel-Boehm et al. JCMR 2015; 17:29
Notes: It is important to understand the gender specific differences in volume and mass to make the correct conclusion when reading MRI study, we can see …

## Slide 9: Fibrosis/scar/LGE detection: Technique
Inversion recovery-nulling of normal myocardium signal
Infusion of 0.2 mM/kg Gd-DTPA
Image 10 min later:
  Gd becomes trapped in necrotic scar
Simonetti et al Radiology 2001;218:215
Notes: Another technique that makes MR very important for patient selection for ICD is the late gadolinium enhancement technique. The technique is an inversion recovery technique which case a nulling of signal in the normal myocardium after infusion of 0.2 Gadolinium and image the myocardium 10 minutes later.
We see an example of 75% delayed enhancement in the anterior/anterolateral segments

## Slide 10: Late Gadolinium Enhancement
Kim RJ et al. Circulation 1999;100:1992
LGE quantification
Notes: This technique is very careful validated in animal models as has been seen by kim in circulation 1999.
We can see the correlation of late gadolinium enhancement of the MR images with the myocardial infarction area in the histology

## Slide 11: Improved sensitivity vs. SPECT
Wagner A et al. Lancet 2003;9355:374
Spatial resolution
MRI ~ 1 x 1 mm
SPECT ~ 10 x 10 mm
6 pts. (13%) with
Subendocardial MI had
No evidence of MI
by SPECT
85/181 segments with
Subendocardial MI had
Neg. SPECT
Notes: Because of improved spatial resolution compared with SPECT:
We can image very small infarction like this subendocardial inferolateral infarction detected by MRI but it has been missed by SPECT because of a better MR spatial resolution.

## Slide 12: T1 Mapping
Puntmann et al. Circ Res. 2016;119:277-299
Notes: Hier is a landscape of native T1 mapping and hier we can see a range for normal (939 bis 1059), Amyloid have the highest T1 value representing
the diffuse and extreme infiltration of the myocardium – if we compare with MI of myocarditis the T1 value are much higher
At the end-stage the diagnosis may be easy, but we need gut test, which pick up patients at earlier stage

## Slide 13: 3D Imaging
MRI
  Goldstandard for LV and RV volume measurement
  LGE:Quantification of scar
  T1 mapping: diffuse myocardial disease
CT
  Excellent spatial resolution
  High negative predictive value & high sensitivity

## Slide 14: Rule in and rule out

## Slide 16: Status of cardiac imaging in Non-ischemic CMP
Dilated CMP
Hypertrophic CMP
Arrhythmogenic right ventricular dysplasia

## Slide 17: SCD in Dilated CMP
Tachyarrhythmia
  Ventricular fibrillation
  Polymorphic VT
  Monomorphic VT
Bradyarrhythmia
  Sinus arrest
  AV block
PEA/EMD
SCD
Death
Sudden death
Notes: When we are talking about SCD in dilated CMP we should understand the mechanism for that SCD

## Slide 18
Disertori et al Trends Cardiovasc Med. 2017; 27:363-372
Notes: We believe to have a good tools to understand and to estimate the risk of SCD but we know that in patients with EF below 35%
Therefore we need another tool to stratified these patients in order to understand who would benefit from ICD

## Slide 19: The Challenge
Wellens et al EHJ 2014
Notes: This has been nicely reflected in the review of Wellens, the majority of patients with SCD are not diagnosed before

## Slide 20: Limitations of EF
Loading conditions and heart rate
Reproducibility
Better to guide all-cause mortality than SCD
Majority of SCD cases are not in the severe EF group (Oregon, Maastricht registries)

## Slide 21
Primary endpoint
556 patients with nonischemic CMP and EF ≤ 35%

## Slide 22
Notes: Again the question which population really benefit from an ICD

## Slide 23: Fibrosis: Mechanism of Arrhythmia
Disertori et al Trends Cardiovasc Med. 2017; 27:363-372
Notes: With fibrosis we know that this is a mechanism of arrhythmia
There are different type of fibrosis with different effect on the conduction system –
we have the compact, diffuse and patchy fibrosis we need to distinguish between them

## Slide 24
30% of patients with DCM have LGE

## Slide 25
Gulati et al. JAMA 2013
Notes: Fibrosis is an independent prognostic factor beyond LVEF. Heir we have 2 examples of patients with dilated nonischemic CMP,
the first one have typical mid-wall LGE with the corresponding histological finding of fibrosis in the myocardium
The other patients without significant pathological finding

## Slide 26
Gulati et al. JAMA 2013
Notes: The addition of fibrosis to LVEF improve reclassification of SCD and all cause mortality

## Slide 27
Halliday et al. circulation 2017; 135:2106
399 patients
Median age 50 yrs
Median LVEF 50%, 25% have LGE
Primary endpoint: SCD or aborted SCD

## Slide 28
Halliday et al. circulation 2017; 135:2106
Notes: Again LVEF does not seem not to be the risk major factor for SCD

## Slide 29: Status of cardiac imaging in Non-ischemic CMP
Dilated CMP
Hypertrophic CMP
Arrhythmogenic right ventricular dysplasia

## Slide 30: ECG much less sensitive for LVH than MRI
Jain A et al. Am Heart J 2010; 2010; 159: 652-658
5.7 – 26%
88.7 – 99.2%
0.52 – 0.59
Notes: We think that ECG is a screening test, but we can see in the MESA study that ECS is insensetive

## Slide 31: Discrepancy in extent of hypertrophy as detected on MRI vs Echo
Hindieh W et al. Curr Cardiol Rep 2017;19:81
Representative example of LGE enhancement in the insertion points
Notes: The presence of LGE may predict arrhythmia

## Slide 32: Prognostic value of LGE-MRI in HCM
Weng Z et al. JACC 2016;9:1392
Current strategies for identifying high-risk patients are incomplete
Cardiac MRI has been applied in diagnosis and prognosis
Notes: This meta-analysis summarized the literature and included 5 trails, the most biggest one is that from Chan

## Slide 33: Characteristics of Studies in the Meta-analysis
2993 patients, 55% were LGE positive
All studies at 1.5 Tesla. Visual interpretation of LGE
Weng Z et al. JACC 2016;9:1392

## Slide 34
Weng Z et al. JACC 2016;9:1392
Notes: If we put this studies in a meta-analysis we can see

## Slide 35: Sudden Death and All cause Mortality as Predicted by Quantification of LGE
Weng Z et al. JACC 2016;9:1392
Notes: The biggest move in cardiac MRI is not to evaluate whether there is LGE or not, but further to quantify the amount of LGE

## Slide 36: The amount of LGE outperform current guideline-recommended criteria for SCD
Freitas et al. JCMR 2019; 12:50
Multicenter retrospective analysis of 493 HCM patients
LGE present in 79% of patients
Endpoint: composite of SCD, aborted SCD, sustained VT, appropriate ICD discharge
Notes: AHA American guidelines
HCM risk score according the European recommendation

## Slide 38
Chan et al. Circulation 2014;130: 484
Notes: The more scar we get the higher risk is for arrhythmia

## Slide 39: Mechanism of Arrhythmia in HCM
Fibrosis
Ischemia
Repetitive ischemia may cause fibrosis?

## Slide 40: Small coronary artery lumen relative to myocardial mass
Hamdan et al. JACC 2018; 11:1926
Small lumen volume is may be one of the mechanism of ischemia
Notes: In normal myocardium there is an increase of coronary volume corresponding to the LV mass with a ratio of 0.75 but in patients with HCM the increase in coronary volume does not matched the increase of LVM and this could be the mechanism of ischemia and or fibrosis

## Slide 41: Work in progress
The mismatch between coronary blood volume and LV mass
could predict fibrosis and therefore arrhythmia
Notes: Because we know that the ischemia is correlated with the amount of LGE in pts with HCM, therefor the mismatch between

## Slide 42: Anderson-Fabry disease
Sado DM et al. Circ CV Img 2013;6:392-8
Notes: Another method to differ between different cases of hypertrophy is T1 mapping
The black and white images is LGE images and the color images are the T1 maps
Looking on the blue spackel within the myocardium

## Slide 43: Status of cardiac imaging in CMP
Dilated CMP
Hypertrophic CMP
Arrhythmogenic right ventricular dysplasia

## Slide 44: Arrhythmogenic RV dysplasia
One of the most frequent SCD in athletes
Wilde A. et al Nat. Rev. Cardiol 2013
Defect in desmosomes
Necrosis and fibrofatty replacement

## Slide 45
High risk of SCD?
  Severely reduced RV function
  Reduced LV function
  Young age

## Slide 46: Disease progression
Genetic testing has shifted ARVC population to the concealed phase
Electrical stage before structural stage
Can imaging detect early disease?
Te Riele et al. JACC 2014

## Slide 47: MRI Criteria
Circulation 2010; 121(13):1533-41
Regional Akinesia, dyskinesia, Microaneurysm
Increased RV diastolic volume
Reduced RVEF

## Slide 48
ARVC

## Slide 49
Myocarditis mimicking ARVD
ARVD
P = 0.003